# SIMULTANEOUS DETERMINATION OF VILOXAZINE, VENLAFAXINE, IMIPRAMINE, DESIPRAMINE, SERTRALINE AND AMOXAPINE IN WHOLE BLOOD: COMPARISON OF TWO EXTRACTION/CLEAN-UP PROCEDURES FOR CAPILLARY GAS-LIQUID CHROMATOGRAPHY WITH NITROGEN-PHOSPHORUS DETECTION

M.A. Martínez, C. Sánchez de la Torre, E. Almarza

Department of Chemistry,Institute of Toxicology, Ministry of Justice. C/ Luis Cabrera 9, 28002 Madrid, Spain

In systematic toxicological analysis (STA) one of the main purposes is screening analysis. Antidepressants are an important class of drugs in forensic and clinical cases. A comparative study for the simultaneous GC resolution and detection of six antidepressants viloxazine, venlafaxine, imipramine, desipramine, sertraline and amoxapine in whole blood at concentration levels of 100-2000 ng/mL was developed. This method allows toxicological screening as well as therapeutic drug monitoring of these antidepressants. Two extraction/clean-up analytical procedures were compared regarding their recovery, precision, sensitivity and matrix purification efficiency. The first procedure consists of the employment of diatomaceous earth, Chem Elut columns, based on the principle of liquid / solid absorption extraction. The second focuses on the use of Bond Elut Certify columns, a mixed SPE: reversed-phase and cation exchange sorbent, more recently developed in the market. Each procedure required 2.0 mL of whole blood extraction and injection into a gas chromatograph equipped with a methylsilicone capillary column and a nitrogen-phosphorus detector. Prazepam was used as chromatographic standard. Both procedures provided extracts free of chromatographic interferences in the areas corresponding to the retention time of the studied compounds. Recoveries of the six drugs using Chem Elut columns at 500 ng/mL were in the range 28-74%, with intra-assay and inter-assay precision less than 7% and 19%, respectively. Limits of detection (LODs) and limits of quantitation  (LOQs) ranged from 39 to 153 ng/mL and from 128 to 504 ng/mL, respectively. Recoveries of the six drugs using Bond Elut Certify columns at 500 ng/mL were in the range 64-86%, with intra-assay and inter-assay precision less than 4% and 10%, respectively. LODs and LOQs ranged from 21 to 100 ng/mL and from 70 to 330 ng/mL, respectively. An excellent linearity was observed with both procedures from the LOQs up to 2000 ng/mL.

The use of the reversed-phase and cation exchange sorbent Bond Elut Certify showed advantages  comparing with Chem Elut columns for the screening of these antidepressants  such as higher recoveries, cleaner extracts, better  sensitivity, better precision and  less solvent consumption and disposal.

Keywords: Toxicology, antidepressant, whole blood, Chem Elut, Bond Elut  Certify, nitrogen-phosphorus detection

(mariantmart@terra.es)