SIMULTANEOUS DETERMINATION OF IN TOTAL SEVENTEEN OPIUM ALKALOIDS AND OPIOIDS IN BLOOD AND URINE BY FAST HPLC-DAD-FL DETECTION, AFTER SOLID-PHASE EXTRACTION

R. Dams, T. Benijts, W. E. Lambert, A.P. De Leenheer

Laboratorium voor Toxicologie, Universiteit Gent, Harelbekestraat 72, B-9000 Gent, Belgium

A fast liquid chromatographic method with tandem diode array-fluorescence detection for the simultaneous determination of in total seventeen opium alkaloids and opioids is presented. Blank blood and urine samples (1 mL) were spiked with different concentrations of a standard mixture, as well as with the internal standard, butorphanol (200 ng/mL). After solid-phase extraction, based on weak cation exchange (CBA SPE columns), the extracts were examined by HPLC-DAD-FL. By using a ‘high-speed’ phenyl column (53 x 7.0 mm I.D., particle size 3µm) eluted with a gradient system (A: water/methanol (90:10, v/v), B: methanol, both containing 25mM triethylammoniumformate (pHA = 4.5)) all compounds could be baseline separated within 12 minutes.

Subsequently, the method was validated. With diode-array detection the following validation parameters were obtained, LOD: from 1.62 to 52.50 ng/mL; LOQ: 5.40 to 105.30 ng/mL; within-day reproducibility: CV% < 10.80 for all compounds at LOQ. For fluorescence detection these parameters ranged from 1.08 to 9.65 ng/mL for LOD, 4.99 to 31.86 ng/mL for LOQ, and CV% < 6.33 for all compounds at LOQ for within-day reproducibility. In addition accuracy (deviation at 500ng/mL: < 9.60% for DAD and < 13.85% for FL), selectivity and regression analysis (using seven calibrator samples, ranging from 1ng/mL up to 1µg/mL, R2 > 0.95 for all compounds) also proved to fulfil analytical standard criteria. Finally, the method was successfully applied to real-time forensic cases in an effort to test the applicability of the analysis.

Keywords: opium alkaloids, opioids, human matrices, solid-phase extraction, liquid chromatography, diode array detection, fluorescence detection

This work was performed in cooperation with Merck Darmstadt KGaA and supported by Merck Eurolab Belgium.

(riet.dams@rug.ac.be)