A NEW TOOL FOR THE OBJECTIVE DIAGNOSIS OF CHRONIC ALCOHOL ABUSE: THE DETERMINATION OF CARBOHYDRATE-DEFICIENT TRANSFERRIN (CDT) WITH CAPILLARY ELECTROPHORESIS

F. Bortolotti1, M. Zuliani1, G. Manetto1, F. Cittadini2, F. Tagliaro2

1Dept. of Public Medicine and Health, Section of Forensic Medicine, University of Verona, Verona, and 2Institute of Forensic Medicine, Catholic University of the Sacred Heart, Rome, Italy

In the last decades, several new biochemical markers of chronic alcohol abuse have been proposed, among which carbohydrate-deficient transferrin (CDT) is reported to be the most reliable, with a specificity of about 90-100% and a sensitivity around 80-85%.

In normal subjects, the major serum transferrin (Tf) isoform contains 4 sialic acid residues (tetrasialo-Tf), but after 1-2 weeks of chronic or repeated ethanol abuse (>60-80 g/die) an abnormal increase of di-, mono- and asialo-Tf’s, collectively named CDT, is observed.

In routine analysis, CDT assay is mostly carried out using commercially available kits based on immunoassay.

We have recently developed a new method for direct CDT determination in serum [F. Crivellente, G. Fracasso, R. Valentini, G. Manetto, A.P. Riviera, F. Tagliaro. Improved method for carbohydrate-deficient transferrin determination in human serum by capillary zone electrophoresis. J. Chromatogr. B 739, 81-93 (2000)].

In short, serum samples are saturated with iron, diluted 1/10 in water and injected by pressure. Separation is performed in 20 m i.d. bare fused silica capillaries with a 100 mM sodium tetraborate buffer pH 8.3 added with 3.0 mM diaminobutane. Detection is by UV absorption at 200 nm wavelength.

Under these conditions, asialo-, monosialo-, disialo-, trisialo- and tetrasialo-Tf’s are baseline separated within 20 min.

Day-to-day RSD’s of relative migration times are 0.22%. Quantitative precision is characterised by day-to-day RDS’s 6.92% and 10.94% for disialo- and trisialo- Tf, respectively. A highly significant (P < 0.001) increase of CDT components is shown in chronic alcohol abusers.

The present method has proved suitable for confirmation of CDT immunoassays, showing that about 30% of “positive” results from immunoassays are false positives, mostly for interference from trisialo-Tf, which is neither a CDT component nor a validated marker of chronic alcohol abuse. Another cause of false positive results from immunoassays are the genetic D variants of human Tf.

Keywords: carbohydrate deficient transferrin, CDT, capillary electrophoresis, chronic alcohol abuse

(ftmedl@borgoroma.univr.it)