MONITORING THE CRACK EPIDEMIC THROUGH URINALYSIS AND EXAMINING THE VALIDITY OF CRACK SELF-REPORTS

N.T. Lu1, B.G. Taylor1, K.J. Riley2

1National Institute of Justice, Department of Justice, 810 Seventh Street, NW, Washington, DC 20531, USA; 2RAND Corporation, 1700 Main Street, Santa Monica, CA 9047, USA

Introduction:	Abuse of crack continues to be of major concern.  Because of limits to biological testing, self-report has been the only mechanism for distinguishing crack use from powder use.  Researchers have reported that smoking crack generates unique pyrolysis products that are detectable in urine, but studies have not addressed how these products could be used as the marker for crack use for a large group of samples.  The National Institute of Justice developed a project to validate the technology.

Methods: The project consisted of 1) interviews conducted with and urine specimens collected from 2,327 adult arrestees; 2) development and validation of procedures for routine GC/MS confirmation of crack use; 3) establishment of standard profiles for two crack pyrolysis products, anhydroecgonine methylester (AEME) and ecgonidine (ECD); and 4) using a positive urinalysis result as the validity standard to assess the extent to which arrestees underreport crack cocaine use as compared to the use of marijuana, opiates, and methamphetamine.

Results & Discussions: Our results indicated that nearly 31% of the specimens were positive for cocaine, of which more than 88% were positive for crack.  This resulted in crack prevalence rates of nearly 31% for females and 27% for males.  In addition, through comparison of urinalysis results with the self-reports, we found that a considerable amount of underreporting occurs for all four drugs (cocaine, methamphetamine, opiates, marijuana).  In most cases, only about half the people who had a positive urinalysis test for drugs admitted to using drugs. Overall, the least amount of underreporting occurred for marijuana (63.6% told the “truth”), followed by methamphetamine use  (56.1% told the “truth”), crack use (48.2% told the “truth”) and opiate use (45.9% told the “truth”).

Keywords: Crack detection; Urinalysis; Pyrolysis; GC/MS

(lun@ojp.usdoj.gov)