# EXTERNAL QUALITY ASSURANCE SCHEMES FOR TOXICOLOGY

J.F. Wilson

Department of Pharmacology, Therapeutics & Toxicology, University of Wales College                of Medicine, Cardiff, U.K.

A variety of External Quality Assurance (EQA) schemes monitor quantitative performance for routine biochemical analysis of agents such as paracetamol, salicylate, ethanol and carboxyhaemoglobin. Their usefulness for toxicologists can be lessened where the concentrations monitored do not extend fully into the toxic range or where the matrix is synthetic, of animal origin or serum as opposed to whole human blood. A scheme for quantitative determinations of a wider range of toxicological analytes such as opioids, benzodiazepines and tricyclics in human blood has been piloted by the United Kingdom National External Quality Assessment Scheme (UKNEQAS). Specialist schemes are available for drugs of abuse testing in urine and for hair analysis.  Whilst these programmes provide much useful information on the performance of analytical techniques, they fail to monitor the integrated processes that are needed in investigation of toxicological cases.  In practice, both qualitative and quantitative tests are used in combination with case information to guide the evaluation of the samples and to develop an interpretation of the analytical findings that is used to provide clinical or forensic advice.  EQA programs that combine the analytical and interpretative aspects of case studies are available from UKNEQAS and KKGT (Stichting Kwaliteitsbewaking Klinische Geneesmiddelanalyse en Toxicologie).

Keywords: External Quality Assurance; Analytical performance; Data interpretation.

(WilsonJF@Cardiff.ac.uk)