DEVELOPMENT OF A MASS SPECTROMETRIC PROCEDURE FOR THE IDENTIFICATION AND QUANTIFICATION OF IGF-1 IN THE GROWTH HORMONE- TREATED HORSE

S.S. de Kock, J.P. Rodgers, B.C. Swanepoel

Laboratory of the Jockey Club of Southern Africa, PO Box 74439, Turffontein 2140, South Africa

The knowledge that growth hormone (GH) has anabolic effects has prompted the need for methods to identify GH abuse in the racehorse. Previous studies have shown that insulin-like growth factor-1 (IGF-1) is a promising marker for the detection of this abuse in the Thoroughbred horse.

Although an immunoradiometric assay (IRMA) has been identified as a reliable screening method, a more specific IGF-1 quantification method needs to be developed for the prosecution of GH abuse by horseracing authorities. This study describes an LC electrospray mass spectrometry (LC-ESI-MS) method which was developed and preliminary assessed for the qualitative and quantitative analysis of IGF-1 at the low levels encountered in serum.

Endoproteinase Asp-N enzymatic treatment of IGF-1 followed by LC-MS analysis indicated the formation of a range of digest peptides which corresponded with theoretically prediction. LC-MS-MS analysis of these digest peptides showed good correlation between the observed fragmentation and the theoretical fragmentation (as generated by the mass spectrometer computer software). This technique can be regarded as a highly specific qualification method when it is applied to IGF-1. For quantification IGF-1 was studied as the intact molecule by full scan LC/MS employing Arg3- IGF-1 as internal standard. Good linearity was observed between the LOQ of 30 ng on column to 500 ng (r2 = 0.9980). The full scan analysis indicated the range of characteristic multiple charged ion masses of IGF-1 as well as the internal standard, providing security that the signal being quantified is IGF-1.

This preliminary procedure describes methodology which is being applied in a current study involving the determination of IGF-1 concentrations in horse serum.

Keywords: IGF-1, Growth Hormone, LC-ESI-MS, Identification, Quantification

(jprs@iafrica.com)