ACCREDITATION OF CLINICAL LABORATORIES  IN SLOVAK REPUBLIC– FIRST EXPERIENCES

K. Schmidtova, I. Halinarova, G. Kovac, B. Illek, L. Spacek, B. Mosendzova

Biochemistry Clinic, Derer Hospital, Bratislava, Slovakia

In the year 1999, Biochemistry Clinic was chosen to start with accreditation process in Slovak Republic. Our approach has been based on Standard STN EN ISO/IEC 17025 General requirements for the competence of calibration and testing laboratories.

Documents include three parts:

1.Quality manual (QM)

2.Appendix of QM

3. Metrological order

Quality Manual consists of 20 chapters and main chapters are:

- Accreditation Field and subject

- List of accredited examinations

- Documentation of methods and procedures

- Validation of examination methods

- Ensuring of the quality of examination results

- Examination protocols

- Complaints and sloppy work

- Responsibility

We have chosen 58 examinations from all examinations of the Biochemistry Clinic, suitable for the accreditation (one of the important condition was a successful participation in EQA).

The list of accredited examinations of toxicological department:

Drugs:

- Acetaminophen

- Digoxine

- Valproic acid

- Theophylline

- Tricyclic antidepressants

- Vankomycine

Drugs of abuse:

- Amphetamine/Methamphetamine

- Cocaine

- Opiates

- Cannabinoids

Abbott ADx and Abbott TDxFLx analysers were used for these examinations. Error limits (CV) calculated for the methods, where from 5 to 8 % and uncertainty of measurements (U) were from 9 to 15 %. Validation of the testing methods was very important, too. Traceability of measurement was ensured by calibration of examination methods using referential materials.

Three audits by nominee reviewers by Slovak National Accreditation Body (SNAS) had been done up to now. All documents were sent to SNAS for assesment. SNAS authorities after visit our Biochemistry Clinic will decide about accreditation of the methods.

Keywords: Accreditation, quality manual, list of examinations

(katka.schmidt@post.sk)